## Sheet1
Category | Command | Description | Status
Identification & General Queries | *IDN? | Identify the connected oscilloscope. | ✅ Validated
Identification & General Queries | HORizontal:MAIn:SCAle? | Query the horizontal scale (timebase). | ✅ Validated
Identification & General Queries | CH1:SCAle? | Query CH1 voltage scale. | ✅ Validated
Identification & General Queries | CH2:SCAle? | Query CH2 voltage scale. | ✅ Validated
Identification & General Queries | ACQuire:MODe? | Query the current acquisition mode. | ✅ Validated
Identification & General Queries | DATa:ENCdg? | Query the waveform data encoding format. | ✅ Validated
Identification & General Queries | DATa:SOUrce? | Query the current waveform data source. | ✅ Validated
Identification & General Queries | DATa:STARt? | Query the waveform data start point. | ✅ Validated
Identification & General Queries | DATa:STOP? | Query the waveform data stop point. | ✅ Validated
Configuration Commands (.write()) | HORizontal:MAIn:SCAle 5E-3 | Set horizontal scale to 5ms/div. | ✅ Validated
Configuration Commands (.write()) | CH1:SCAle 1 | Set CH1 voltage scale to 1V/div. | ✅ Validated
Configuration Commands (.write()) | CH2:SCAle 1 | Set CH2 voltage scale to 1V/div. | ✅ Validated
Configuration Commands (.write()) | TRIGger:A:SOUrce CH1 | Set CH1 as the trigger source. | ✅ Validated
Configuration Commands (.write()) | MEASUrement:IMMed:SOUrce CH1 | Set CH1 as the measurement source. | ✅ Validated
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:TYPe FREQ | Set frequency measurement type. | ⏳ To Be Tested
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:VALue? | Query frequency measurement. | ⏳ To Be Tested
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:TYPe PERIOD | Set period measurement type. | ⏳ To Be Tested
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:VALue? | Query period measurement. | ⏳ To Be Tested
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:TYPe PK2PK | Set peak-to-peak voltage measurement. | ⏳ To Be Tested
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:VALue? | Query peak-to-peak voltage. | ⏳ To Be Tested
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:TYPe CRMS | Set RMS voltage measurement. | ⏳ To Be Tested
Measurement Commands (Deferred for Testing Phase) | MEASUrement:IMMed:VALue? | Query RMS voltage. | ⏳ To Be Tested